**Know, Record, Share**

**Home Blood Pressure Monitoring Machine Cleaning Instructions**

* Use a soft dry cloth or a soft cloth moistened with mild (Neutral) detergent to clean your monitor and arm cuff, and then wipe with a dry cloth.
* Do not use any abrasive or volatile cleaners.
* Do not wash or immerse your monitor and arm cuff or other components in water.
* Do not use gasoline, thinners or similar solvents to clean your monitor and arm cuff or other components